## Slide 1: Artificial Intelligence in Pathology
By
Chibuike Enwereuzo, MD, MBBS, FCAP, FASCP
Assistant professor of Pathology
SUNY Upstate Medical University
Staff Pathologist and Specialist
GI/Liver Pathology, Hematopathology and Cytopathology
UHS-Wilson Medical Center
Johnson City, New York

## Slide 2: Programing vs Machine learning
Programing
Microchips
Written codes
Logic
All scenarios accounted for!
Machine learning
Neural nets
Model trained on data
Decisions/predictions made based on patterns
Adaptable
Not every scenario has to be programmed

## Slide 3: Microchips vs neural nets

## Slide 4: Digital pathology

## Slide 5: Why AI?
Shorter review time
Costs
Consistency
No fatigue
No human factor disruption

## Slide 6: Radiology vs Pathology
Radiology digitization ahead of pathology
Data size
Storage space
Practical Radiology systems
Accuracy
Digitization always comes first!!!

## Slide 7: ANATOMIC PATHOLOGY

## Slide 8: Breast Pathology
AI models trained
  Benign vs malignant – Variable accuracy
  In situ vs invasive breast cancer - Exceeds human pathologists
  Nodal metastasis vs negative – Exceeds human pathologists
  Mitosis detection – Falls short of human pathologists’ accuracy
Biomarkers
  HER2/neu IHC – 100% concordance reported
  ER/PR IHC – 90% concordance
  ER/PR on H&E – 84-92% concordance reported
Tumor biology from morphology!
Prognosticate
  Survival and recurrence

## Slide 9: Ohio State University and Ibex Medical Analytics study
Accurately identified invasive and microinvasive carcinomas
Correctly marks a point of interest
Radial scar misdiagnosed as invasive carcinoma*

## Slide 10: Breast Pathology
No FDA approved fully autonomous diagnostic models
Experimental models may be used as adjuncts
Semiquantitative evaluation of biomarkers
Grading
Lymph node metastasis
Report pre-population
Currently, may improve workload
Off-label predictions
  Predicting prognosis and therapy response
  Predicting potential molecular changes

## Slide 11: Prostate Pathology
1/9 US men will develop prostatic cancer
Most will get a 12/18-core-biopsy of the prostate
Interest driven by
  Huge volume of material
  Shortage of pathologists
  High false negative rate- up to 8%
Limited to detection and grading prostatic adenocarcinoma
  Model vs general pathologist
    Grading: AI=71.7% vs Human=58% (p<0.001)
    Tumor recognition: AI=94.3% vs Human =94.7%
Promising entry into clinical practice

## Slide 12: Paige Prostate
FDA approval for IVD diagnosis of prostate cancer
Identifies cancers easily overlooked by human pathologists
May obviates need for serial tissue levels
70% reduction in detection errors

## Slide 13: Paige Prostate

## Slide 14: Practical uses in prostate pathology
Second eye
Enhanced gleason’s scoring
Quantifying cancer features
Identify patterns (eg PNI, cribriforming, intraductal ca etc)

## Slide 15: Lung Pathology
No FDA approved product in clinical use
Research still ongoing
Using H&E slides alone, AI models can:
  Prognostication-(short and long term survivors)
  Molecular signature/ gene mutation (including EGFR, KRAS & TP53)
  PDL-1 status and response to Nivolumab
Adenocarcinoma vs squamous cell carcinoma

## Slide 16: Colon Pathology
No FDA approved fully autonomous diagnostic models
Active research with interesting results
  Differentiating polyp types
  Histologic subtypes of adenocarcinoma
  Prognostication
  MicroSatellite Instability
  Molecular signature

## Slide 17: AI Solutions Independent of Cancer Cells
General prognostication using tumor/stromal ratio
Prognostication based on stromal component evaluation
Tumor infiltrating lymphocytes
Tumor microenvironment
Response to immunotherapy

## Slide 18: Ki-67 index

## Slide 19: Automated video pap screening
Hologic Genius Digital Diagnostics System
Techcyte SureView® Cervical Cytology System
IARC-developed AI

## Slide 20: Hologic Genius Digital Diagnostics System
FDA clearance in February 2024
Key components
  Genius Digital Imager
    WSI (all cells captured!)
  Genius Cervical AI algorithm
    Deep learning AI analyze every single cell
    Identifies and compiles "objects of interest“
    Organized gallery for review by a cytologist or pathologist
  Genius Image Management Server
    Central server
    Stores, retrieves, and transmits image data and case information
  Genius Review Station
    High-resolution monitor and dedicated software
    Cytologists and pathologists review the AI-generated gallery of OOIs

## Slide 23: Other cervical cancer screening platforms
Techcyte SureView® Cervical Cytology System
  Clinically available in Europe
  Similar to the Hologic in operation
IARC-developed AI
  Developed by the International Agency for Research on Cancer (IARC)
  AI interpretes gross image of cervix
  Targets resource poor settings
  Does not require internet, battery powered
  Outperforms pap/visual inspection
  Validation and field testing ongoing in many countries

## Slide 24: IARC-developed AI

## Slide 25: CLINICAL PATHOLOGY

## Slide 26: AI in Clinical Pathology
Automation laborious tasks
Increased Accuracy
Enhanced Efficiency
Improved Public Health/Epidemic mitigation:
Reduced Turnaround Time

## Slide 27: ASR600 AI Specimen handling system

## Slide 28: Automated work flow

## Slide 29: Microbiology

## Slide 30: WASPLAB®
Integrated microbiology system
Key components include
  WASP® (Walk-Away Specimen Processor)
    Automated processing, plating, streaking, and slide preparation
  Automated Incubators:
    Controlled environment for culture growth
    High-capacity image acquisition
    Storage.
  Digital Microbiology & PhenoMATRIX
    Captures images of cultures
    Allows remote review and analysis of growth
    Eliminates need for physical examination
  AI and Software:
    AI analyze culture images
    Results integrated with LIS

## Slide 31: WASPLAB®

## Slide 32: WASPLAB®

## Slide 33: AI automated microbial identification
Image-Based Identification
Genomic and Molecular Data Analysis
Integration with Automation Platforms

## Slide 34: Image-Based Identification systems
CNNs (Convolutional Neural Networks)
  Morphology based identification
  Colony morphology and counts
Deep Colony:
  Speciation using colony morphology
  Simulates microbiologist evaluation of plate colonies
  Matched experts’ judgement in 95.4%
EasySort AUTO:
  Identifies, sort, and exports single microbial cells
  Further analysis, such as single-cell sequencing
Most still investigational
Currently limited in clinical use

## Slide 35: Biochemical based identification
Compares biochemical reactions to large databases
VITEK 2 (e.g BioMérieux's)
  Uses wells in Vitek cards containing dehydrated substrate
  AI interprets results colorimetric and turbidimetric changes
MicroScan system (eg Thermo Fischers)
  AI interprets results from biochemical reaction panels
Biolog Omnilog
  Microplates test microbe’s ability to use carbon sources
  AI analyze metabolic fingerprints/respiration patterns
  Identifies bacteria, yeasts, and fungi
AI-assisted biosensing
  Uses microspheres to perform biochemical analyses
  AI analyze and detects targets

## Slide 36: VITEK 2 cards

## Slide 37: VITEK 2 automated analyzer

## Slide 38: Microscan plate

## Slide 39: Thermo Fisher's MicroScan

## Slide 40: Beckman Coulter Microscan

## Slide 41: Biolog Omnilog

## Slide 42: Microbial molecular identification systems
DNA Extraction
Amplification (PCR)
Sequencing:
Analysis and database comparism
May identify sub-strains and resistance profile!

## Slide 43: Verigene systems

## Slide 44: The Biofire® Filmarray® Torch System

## Slide 45: Microbial Mass Spectrometry
How it works
Sample Preparation:
Laser strikes Ionization
Separation & Detection
Spectrum Generation
  Unique protein fingerprint
Database comparism and Identification
May identify sub-strains and resistance profile!

## Slide 46: MALDI-TOF MS

## Slide 47: Clinical Chemistry

## Slide 48: AI in Clinical chemistry
Pre-analytical Phase
Analytical Phase
Post-analytical Phase

## Slide 50: Pre-analytical phase-Test prescription
As always, digitization comes first!
Many US labs already digitized and integrated with EHR
Automated systems do most pre-analytics
OCR useful where integration is lacking
Optical Character Recognition (OCR)
  Often uses AI and machine learning
  Automates data entry in requisition forms and specimen labels
    Patient demographics, test orders, and insurance details etc
    Can rapidly read printed patient info on specimen label
    Cross reference with LIS and flag discrepancies (e.g mislabels)
  Automatically routes tubes to correct analytical instruments
  Minimizes human errors
  Improves efficiency.

## Slide 51: Optical Character Recognition (OCR)

## Slide 52: Pre-analytical phase-Specimen collection
Automated venipuncture systems eg Vitestro and MagicNurse
High first-stick success rates.
Imaging guidance:
  Uses near-infrared light and ultrasound imaging
  Visualizes vessels and determines depth, size, and location.
Artificial intelligence:
  Compares visual data against vein anatomy database
  Selects the most suitable and accessible vein for the procedure.
Robotic needle insertion:
  Robotic arm precisely inserts the needle into the chosen vein
  Real-time imaging continues to guide the robot
  Adjustments made to account for minor patient movements.
Automated sample handling:
  Fill and standardize the blood collection tubes
  Sample quality evaluation
    Icterus, lipemia, hemolysis etc
  Some have on-board centrifuge for rapid blood analysis

## Slide 53: Pre-analytical phase-Specimen collection
Vein finder
Automated venipuncture

## Slide 54: Pre-analytical Phase-Sample Transportation
Pneumatic tubes
Drones
Robots

## Slide 55: Analytical Phase
Automated systems with AI already built into analyzers and LIS
Complex data analysis
  Analyze data from different analytic method
  May identify patterns and anomalies missed by human
Enhanced quality control
  Flag instrument issues faster
  Identifies deviations from normal, trends, and other QI issues
Improved interpretation
  Accuracy and speed of interpreting results
  Spectral data processing for compound identification
  E.g recognizing biomarker profiles that indicate health status.
Workflow automation
  Data flagging and initial result review
  Frees up lab professionals to focus on more complex cases.

## Slide 56: Post-analytical Phase
Automated result interpretation and reporting
  More comprehensive reports that are easier for clinicians to understand
Large scale automatic result validation
  Speeds up result release
Critical value management
Error detection and correction
  Detects errors, discrepancies between different test results etc
Data integration and clinical correlation:
  Provides a more comprehensive picture of patient health
Personalized reporting
  Tailors reports to individual patient (precise medicine)
Workflow and data management

## Slide 57: Hematology

## Slide 58: Overview of AI application

## Slide 59: Morphology-Digital pathology
Automated systems do counts
Prepare and stain blood and bone marrow films
Slide scanners digitize, analyze and store hematology slides
Identifies blood cells anomalies with high precision.
Identifies malignant cell populations
Allows for remote consultation

## Slide 60: CellaVision system by Beckman Coulter

## Slide 61: Immunology- flow cytometry
Experinmental, mostly technical
DeepFlow™
  Trained on over 300,000 expert-diagnosed clinical cases
  Demonstrated 100% sensitivity and 98.3% specificity
  Automated data management, storage, and diagnostic workflow
  Auto gating, classification and report generation
  Analyze 100k events in 5 secs
Smart Cyto Flow
  Automates complex flow cytometry data
  Automatically cluster cells
  Identify specific populations (eg MRD)

## Slide 62: Cytogenetics
Automated karyotyping
ASI (Applied Spectral Imaging)
  Automated scanning, analysis and karyogram
  Banding, anomaly detection
  FISH
  LIS integration
BioView
MetaSystems

## Slide 63: ASI (Applied Spectral Imaging)

## Slide 64: Molecular biology
Automated DNA extractions
AI sifts through molecular lesions
References database
Hematologic malignancy classification and subtyping
Personalized medicine

## Slide 65: Future Perspetives
Currently still limited
  Teaching, research & QA
WSI <30% of institutions
Still lacks robustness and general applicability
  Performance depends on training data volume and quality
  20% drop in performance when parameters change
  Variations in staining procedures, tissue types and scanners
Calls for open source data/central repository
  Like Cancer Genome Atlas, the Cancer Imaging Archives etc

## Slide 66: References
Shafi S, Parwani AV. Artificial intelligence in diagnostic pathology. Diagn Pathol. 2023 Oct 3;18(1):109. doi: 10.1186/s13000-023-01375-z. PMID: 37784122; PMCID: PMC10546747
Försch S, Klauschen F, Hufnagl P, Roth W. Artificial Intelligence in Pathology. Dtsch Arztebl Int. 2021 Mar 26;118(12):194-204. doi: 10.3238/arztebl.m2021.0011. PMID: 34024323; PMCID: PMC8278129.
Ghaffar Nia N, Kaplanoglu E, Nasab A. Evaluation of artificial intelligence techniques in disease diagnosis and prediction. Discov Artif Intell. 2023;3(1):5. doi: 10.1007/s44163-023-00049-5. Epub 2023 Jan 30. PMCID: PMC9885935.
Lancellotti C, Cancian P, Savevski V, Kotha SRR, Fraggetta F, Graziano P, Di Tommaso L. Artificial Intelligence & Tissue Biomarkers: Advantages, Risks and Perspectives for Pathology. Cells. 2021 Apr 2;10(4):787. doi: 10.3390/cells10040787. PMID: 33918173; PMCID: PMC8066881.
Mercan E, Mehta S, Bartlett J, Shapiro LG, Weaver DL, Elmore JG. Assessment of Machine Learning of Breast Pathology Structures for Automated Differentiation of Breast Cancer and High-Risk Proliferative Lesions. JAMA Netw Open. 2019 Aug 2;2(8):e198777. doi: 10.1001/jamanetworkopen.2019.8777. PMID: 31397859; PMCID: PMC6692690.
Parvin Mohseni, Abozar Ghorbani: Exploring the synergy of artificial intelligence in microbiology: Advancements, challenges, and future prospects, Computational and Structural Biotechnology Reports, Volume 1, 2024